## Brass Fittings
Brass BSP & NPT Fittings (Non-Hydraulic) | Return to Contents
Over-the-Counter Identification Guide
Audience: New counter staff / inside sales
Purpose: Correctly identify brass pipe fittings, distinguish BSP vs NPT threads, and prevent cross-threading and leaks.
1. What Are Brass Pipe Fittings? (Plain Language)
Brass pipe fittings are threaded connectors used to join pipes, hoses, or components carrying:
Air
Water
Fuel
Low-pressure fluids
They seal using thread interference, sealing tape, or washers — not hydraulic compression.
2. STEP ONE: Identify the Thread Standard (START HERE)
This is the most important step.
A. NPT (National Pipe Thread – Tapered)
Common in North America
Thread is tapered
Seals by thread interference
B. BSP (British Standard Pipe)
Used internationally and in imported equipment.
Two types:
BSPP (Parallel)
BSPT (Tapered)
🛑 BSP and NPT are not interchangeable, even if they screw together briefly.
3. Visual Thread Identification (Quick Field Checks)
NPT
Tapered thread
60° thread angle
Seals without washer
BSPP
Parallel thread
55° thread angle
Requires sealing washer or O-ring
BSPT
Tapered thread
55° thread angle
Seals like NPT but different angle
⚠️ BSPT into NPT will damage both parts.
4. STEP TWO: Identify Gender & Connection Type
Once thread standard is known:
Male (M) → external thread
Female (F) → internal thread
Connection styles:
Straight
Elbow (45° / 90°)
Tee
Union
Reducer
5. STEP THREE: Identify Size (DO NOT GUESS)
Pipe size is nominal, not actual diameter.
1/4" pipe ≠ 1/4" OD
Measure thread OD, then reference chart
🛑 Metric and imperial sizes can look identical.
6. STEP FOUR: Sealing Method (CRITICAL)
Confirm how the fitting seals:
NPT / BSPT → thread sealant or tape
BSPP → washer or bonded seal
🛑 Tape alone will not seal BSPP.
7. Common Brass Fitting Types (OTC Focus)
Nipples
Couplers
Bushings
Adapters
Hose tails (barbs)
⚠️ Adapters must match both thread types.
8. Common Customer Language → What It Usually Means
“Air fitting” → Usually NPT
“British thread” → BSP
“Keeps leaking” → Thread mismatch
“It almost fits” → Wrong standard
9. Common Mistakes to Avoid
❌ Mixing BSP and NPT
❌ Assuming pipe size = measured diameter
❌ Using tape on BSPP without washer
❌ Forcing threads to seal
10. When to Escalate (DO NOT GUESS)
Escalate if:
Thread standard uncertain
Imported equipment
Repeated leak issues
Mixed male/female standards
11. Final Counter Confidence Check
Before selling, confirm:
✔ Thread standard (BSPP, BSPT, or NPT)
✔ Correct size
✔ Correct gender
✔ Correct sealing method
If all four are confirmed → correct fitting selected.