# PRESSURE GAUGES

Phase 2 | Quick Counter Cheat Sheet

| 👁 WHAT IT IS • Instrument to measure pressure • Displays system pressure • Mechanical or digital 👁 COMMON TYPES • Bourdon tube • Glycerine-filled • Digital gauges • Panel mount 📏 KEY MEASUREMENTS • Pressure range • Thread size • Thread type • Dial diameter 📏 OPERATING LIMITS • Overpressure damage risk • Vibration sensitive • Temperature dependent | 👁 10-SECOND VISUAL CHECK • Needle at zero • Clear dial • Correct units ⚠ COMMON MISTAKES • Wrong pressure range • Incorrect thread • Using without snubber ⚠ WHEN TO ESCALATE • High pressure systems • Pulsating pressure • Safety-critical readings 👁 GOOD / NOT IDEAL • Good: monitoring systems • Not ideal: control applications • → Consider transmitters |
| --- | --- |

FINAL CHECK:  RANGE ✓   THREAD ✓   UNITS ✓   DAMPING ✓   ZERO ✓