# BRASS FITTINGS

Phase 2 | Quick Counter Cheat Sheet

| 👁 WHAT IT IS • Threaded fittings for fluid or air • Corrosion resistant • Easy to machine and seal 👁 COMMON TYPES • Elbows • Tees • Reducers • Barbed fittings 📏 KEY MEASUREMENTS • Thread size • Thread type (BSP, NPT) • Hose or tube size • Overall length 📏 OPERATING LIMITS • Moderate pressure only • Soft material – avoid overtightening • Temperature limited | 👁 10-SECOND VISUAL CHECK • Yellow/gold colour • Clean thread form • No cracks or deformation ⚠ COMMON MISTAKES • Mixing thread standards • Overtightening • Using on high-pressure systems ⚠ WHEN TO ESCALATE • High pressure or hydraulic use • Vibration present • Unknown thread type 👁 GOOD / NOT IDEAL • Good: air, water, low-pressure systems • Not ideal: hydraulics • → Consider steel fittings |
| --- | --- |

FINAL CHECK:  THREAD ✓   TYPE ✓   SIZE ✓   PRESSURE ✓   SEAL ✓