# ELECTRIC MOTORS

Phase 2 | Quick Counter Cheat Sheet

| 👁 WHAT IT IS • Converts electrical energy to mechanical motion • Provides rotational power • Used across all industries 👁 COMMON TYPES • AC induction • Single-phase / three-phase • DC motors • IEC / NEMA frames 📏 KEY MEASUREMENTS • Frame size • Shaft diameter • Power (kW / HP) • Speed (RPM) 📏 OPERATING LIMITS • Cooling dependent • Duty cycle limited • Voltage & frequency specific | 👁 10-SECOND VISUAL CHECK • Nameplate data • Shaft size • Mounting type ⚠ COMMON MISTAKES • Wrong voltage • Incorrect frame size • Ignoring duty rating ⚠ WHEN TO ESCALATE • Variable speed control • Hazardous areas • Custom mounting 👁 GOOD / NOT IDEAL • Good: reliable power source • Not ideal: precise positioning • → Consider servo motors |
| --- | --- |

FINAL CHECK:  POWER ✓   VOLTAGE ✓   FRAME ✓   SPEED ✓   DUTY ✓